## Example Sheet
Note: This document is in progress, and is current as of November 5, 2014
| Analysis Sub-Area | Function Area | Smart Grid Assets |  |  | Smart Grid Functions |  |  | Smart Grid Impacts |  | Smart Grid Benefits
| A | B | C | D | E | F | G | H | I | J | K | L | M
Seq. No. |  |  | Hardware and Software | Utility Implementation Actions | Customer Implementation Actions | Technology Function | Utility Function | Customer Function | Utility Impact | Customer Impact | Benefit to Utility | Benefit to Customer | Benefit to Society
A1 | Billing and Retail services | Automated bill generation | 1. Smart meter 2. AMI Communication system 3. Backhaul system 4. MDMS 5. CIS/Billing system integration | 1. Install AMI system 2. Configure MDMS 3. Implement system integrations 4. Align staff skills with new billing system | None | 1. AMI system automatically collects granular billing data in a complete, accurate, and timely manner. MDMS stores and analyzes the collected data, and converts it to billing determinants. | 1. Monitor the data collection and analysis executed by the system software 2. Edit anomalies in MDMS data | None | 1. Reduced billing and customer service labor hours 2. Fewer estimated bills | 1. Reduced variance between kWh billed and kWh consumed 2. Fewer bill disputes 3. Faster resolution of bill disputes | 1. Reduced labor costs 2. Reduced working capital 3. Improved customer satisfaction rating | 1. Improved customer satisfaction | None
D3 | Reliability/Outage Management | Automated feeder switching for service restoration | 1. Remote fault indicator 2. Automated feeder switch 3. Communication system 4. Backhaul system 5. DMS 6. SCADA integration | 1. Select feeders 2. Install necessary line devices and IT systems 3. Implement necessary system integrations 4. Establish control room procedure 5. Align the skills of field and dispatch crew to new needs | None | 1. Switch received telemetry from RFI, either directly or through DMS. 2. Switch or DMS determines if fault condition exists. 3.If yes, then switches open and/or close to reconfigure power flow to first isolate fault 3. Switches operate then restore service to downstream customers. | 1. If required, control room operator manually overrides switching commands generated by DMS. | None | 1.Reduced labor hours related to restoration efforts 2. Reduced truck rolls and vehicle miles 3. Reduced loss of kWh sales (as a result of faster service restoration) 4. Improved reliability indices | 1.Reduced outage duration (as a result of faster service restoration) 2. Reduced severity of outages experienced (as a result of significant reduction in duration) | 1. Reduced operations costs 2. Avoided loss of revenue 3. Avoided regulatory penalties and/or realized regulatory incentives | 1. Reduced economic losses due to outages 2. Improved customer satisfaction | 1. Reduced CO2 and pollutant emissions from vehicle operations.
Physical resource used to develop smart grid. Includes equipment, software, and systems integration.
Utility actions to implement smart grid assets before they are put into operation.
Customer actions to implement smart grid assets before they are put into operation.
How technology produces change for utility and customers.
How the utility interacts with technology to cause smart grid change.
How the customer interacts with technology to cause smart grid change.
Change resulting from smart grid function that benefits the utility.
Change resulting from smart grid function that benefits the customer.
Value received by the utility resulting from smart grid impacts.
Value received by the customer resulting from smart grid impacts.
Value received by society resulting from smart grid impacts.

## AMI Analysis Area
Note: This document is in progress, and is current as of November 5, 2014
| Analysis Sub-Area | Function Area | Smart Grid Assets |  |  | Smart Grid Functions |  |  | Smart Grid Impacts |  | Smart Grid Benefits
| A | B | C | D | E | F | G | H | I | J | K | L | M
Seq. No. |  |  | Hardware and Software | Utility Implementation Actions | Customer Implementation Actions | Technology Function | Utility Function | Customer Function | Utility Impact | Customer Impact | Benefit to Utility | Benefit to Customer | Benefit to Society
A1 | Billing and Retail services | Automated bill generation | 1. Smart meter 2. AMI Communication system 3. Backhaul system 4. MDMS 5. CIS/Billing system integration | 1. Install AMI system 2. Configure MDMS 3. Implement system integrations 4. Align staff skills with new billing system | None | 1. AMI system automatically collects granular billing data in a complete, accurate, and timely manner. 2. MDMS stores and analyzes the collected data, and converts it to billing determinants. | 1. Monitor the data collection and analysis executed by the system software 2. Edit anomalies in MDMS data | None | 1. Reduced billing and customer service labor hours 2. Fewer estimated bills | 1. Reduced variance between kWh billed and kWh consumed 2. Fewer bill disputes 3. Faster resolution of bill disputes | 1. Reduced operations costs 2. Reduced working capital 3. Improved customer satisfaction rating | 1. Improved customer satisfaction | None
A2 |  | Enhanced customer complaint resolution | 1. Smart meter 2. AMI Communication systems 3. Backhaul system 4. MDMS 5. CIS/Billing system integration 6. Web portal (optional) | 1. Install AMI system 2. Configure MDMS 3. Implement system integrations 4. Set up and launch web portal (optional) 5. Train customer service staff on accessing and interpreting interval data | 1. Enroll in web portal and create account (optional) | 1. AMI system collects interval data. 2. MDMS/CIS presents interval data to customer service representatives. 3. Web portal presents interval data to customers. | 1. Customer service representative accesses interval data when addressing customer complaints. 2. Ensure meter data completeness and accuracy. | 1. Present complaint to customer service 2. Access usage information to self-resolve complaint | 1. Reduced customer service labor hours 2. Reduced truck rolls and vehicle miles | 1. Faster complaint resolution 2. Added capability to self-resolve complaints | 1. Reduced operations costs 2. Improved customer satisfaction rating | 1. Improved customer satisfaction | 1. Reduce CO2 and pollutant emissions
A3 |  | On-demand service | 1. Smart meter with remote connect / disconnect feature 2. Communication system 3. Backhaul system 4. MDMS 5. CIS / Billing system integration | 1. Install AMI system 2. Configure MDMS 3. Implement system integrations 4.Enable feature on selected meters 5. Get regulatory approval 6. Advertise service | None | 1. AMI system provides off-cycle meter reads. 2. CIS triggers remote service connection and disconnection via AMI communication system. | 1. Process request for on-demand service 2. Ensure final bill accuracy. 3. Confirm service order completion. | 1. Request remote service orders | 1. Reduced truck rolls and vehicle miles 2. Reduced meter reading and customer service labor hours 2. Reduced variance between kWh paid for and kWh delivered | 1. Faster service order fulfillment 2. Reduced variance between kWh billed and kWh consumed | 1. Reduced operations costs 2. Improved revenue collection 3. Improved customer satisfaction rating | 1. Avoided service connection/ disconnection fee 2. Reduced bill due to timely reading 2. Improved customer satisfaction | 1. Reduce CO2 and pollutant emissions
A4 |  | Online bill payment | 1. Web portal or smartphone app 2. CIS / Billing system integration | 1. Implement system integrations 2. Advertise payment option 3. Contract website and online payment service vendor(s) 4. Offer technical support for online payment | 1. Enroll in online service | 1. Web portal or smartphone app provides bill payment information to the payment service vendor for processing. | 1. Notify customers of upcoming, paid and outstanding bills | 1. Pay bill online | 1. Reduced billing labor hours 2. Fewer paper bills | 1. Timely and faster bill payment | 1. Reduced operations costs 2. Improved customer satisfaction rating | 1. Avoided late fee 2. Improved customer satisfaction | None
A5 |  | Pre-pay rate | 1. Smart meter with remote connect / disconnect feature 2. AMI Communication system 3. Backhaul system 4. CIS / Billing system integration 5. Customer retail location for payment (optional) 6. Web portal or smartphone app (optional) | 1. Install AMI system 2. Configure MDMS 3. Implement system integrations 4. Design rate 5. Make service discontinuation policy 6. Get regulatory approval 7. Advertise rate 8. Contract and manage pre-pay service vendors 9. Align staff skills with new rate offering | 1. Enroll in pre-pay rate | 1. AMI automatically collects interval usage data. 2. CIS/ Billing triggers remote service connection and disconnection via AMI communication system. | 1. Send customers usage and balance notifications 2. Discontinue or resume service based on payment status | 1. Pay bill ahead of time 2. Adjust consumption based on usage and balance information | 1. Reduced non-paying accounts 2. Reduced billing labor hours 3. Reduced loads 4. Fewer paper bills | 1. Reduced electricity usage | 1. Reduced utility bad debt write-off 2. Reduced operationg costs 3. Reduced wholesale electricity cost 4. Improved customer satisfaction rating | 1. Reduced electricity bill 2. Improved customer satisfaction | 1. Reduce CO2 and pollutant emissions 2. Reduced cross-subsidization of non-paying accounts
A6 | Billing and Retail services | Support for electric vehicle adoption | 1. Smart meter 2. AMI Communication system 3. Backhaul system 4. EV charging stations (residential and public) AMI Integration 5. Payment processing system (public-sited only) 6. Sub-meter (residential) 7. HAN (for residential) | 1. Install AMI system 2. Configure MDMS 3. Implement system integrations 4. Design residential rate or public price 5. Get regulatory approval 6. Advertise to customers 7. Partner with vendors and payment service 8. Install charging stations 9. Upgrade distribution system as needed | 1. Acquire electric vehicle (residential only) 2. Enroll in rate (residential only) | 1. Sub-meters measure usage information from residential EV charging stations. 2. Smart meters communicate usage information to MDMS which analyzes and converts it to billing determinants 3. Public charging stations measure usage and accept payment directly | 3. Maintain EV interoperability 1. Accept payment from public station payment processor | 1. Charge vehicle | 1. Increased sales (kWh) | 1. Improved access to EV charging stations 2. Reduced barrier to adopting EV | 1. Increased revenue 2. Improved customer satisfaction rating | 1. Reduced transportation fuel cost 2. Improved customer satisfaction | 1. Reduced CO2 and pollutant emissions 2. Increased local economic activities (retail)
A7 |  | Support for distributed energy resources adoption | 1. Smart meter 2. AMI Communication system 3. Backhaul system 4. MDMS 5. CIS / Billing system integration 6. Distributed energy resource 7. Inverter | 1. Install AMI system 2. Configure MDMS 3. Implement system integrations 4. Design DER rate 5. Get regulatory approval 6. Partner with equipment vendors 7. Advertise rates 8. Assess site and distribution network to support DER 9. Help customers install DER 10. Upgrade distribution system as needed | 1. Purchase and install DER 2. Enroll in rate | 1. Inverter converts direct current from DER device to altenating current for the distribution grid. 2. Smart meters measure electricity supplied by DER. 3. Smart meters transmit the net usage information to MDMS, which stores and analyzes the collected data, and converts it to billing determinants. | 1. Maintain interoperability of DER with utility systems | 1. If desired, control DER based on operational objectives (e.g., rate incentives) | 1. Reduced peak loads | 1. Reduced net electricity usage (kWh) and demand (kW) 2. Reduced barriers to DER adoption | 1. Reduced wholesale electricity cost | 1. Reduced electricity bills (usage and demand charge) | 1. Reduce CO2 and pollutant emissions
A8 | Demand Management | Interval usage information presentment | 1. Smart meter 2. AMI Communication system 3. Backhaul system 4. MDMS 5. CIS / Billing system integration (optional) 6. Web portal or smartphone app 7. In-home display 8. Customized usage reports 9. HAN (optional) | 1. Install AMI system 2. Configure MDMS 3. Implement system integrations 4. Select vendor(s) 5. Design information presentment 6. Advertise web portal, in-home display 7. Align staff skills to new needs | 1. Enroll in web portal 2. Receive and install IHD | 1. AMI system automatically collects interval data and communicates it to MDMS. 2. MDMS analyzes this data and converts it to billing determinants. 3. Vendor software analyzes usage and billing data for presentment. 4. Web portal, IHD, bill inserts or customized usage reports present this information to customers. | 1. Monitor the data collection and analysis executed by the system software 2. Edit anomalies in MDMS data 3. Include usage information in bill mailing | 1. Interpret usage information to change usage behavior | 1.Reduced customer service labor hours | 1. Reduced electricity usage 2. Added ability to self-resolve billing/usage issues | 1. Reduced operations costs | 1. Reduced electricity bills | 1. Reduced CO2 and pollutant emissions
A9 | Demand Management | Direct load control | 1. Smart meter 2. MDMS 3. AMI communication system 4. Backhaul network 5. Direct load control switch 6. CIS / Billing system integration | 1. Install AMI system 2. Configure MDMS 3. Implement system integrations 4. Design direct load control program 5. Get regulatory approval 6. Advertise program 7. Align staff skills to new needs 8. Install DLC switches on devices | None | 1. AMI communication system provides control signal to participating DLC devices. 2. DLC device switches off the load. 3. Smart meter automatically collects interval data and communicates it to MDMS which tracks participation. | 1. Notify customers of peak events 2. Identify participating loads based on customer preferences. 3. Provide customer support | 1. Participate in direct load control events | 1. Reduced peak loads | 1. Reduced peak electricity demand | 1. Reduced wholesale electricity costs | 1. Reduced electricity bills | 1. Reduced CO2 and pollutant emissions
A10 |  | Technology-Enabled Customer Response to Time-Based Incentives | 1. Smart meter 2. MDMS 3. AMI Communication systems 4. Backhaul system 5. Energy management system 6. Smart lighting 7. Smart thermostats 8. Home area network | 1. Install AMI system 2. Configure MDMS 3. Select vendor(s) and customer systems 4. Advertise customer systems 5. Install and integrate customer systems with AMI communication system 6. Train staff to troubleshoot customer systems 7. Design time-based rate, peak time rebate, or demand charge | 1. Receive and install customer system devices 2. Enroll in time-based rate | 1. Smart meter automatically collects interval data. 2. HAN can integrate AMI with energy management system, smart lighting and smart thermostats, that use customer load information to efficiently manage usage. | 1. Maintain interoperability 2. Call peak events (optional) | 1. Program customer system device 2. Participate in peak events (optional) | 1. Reduced overall electricity demand | 1. Reduced electricity usage | 1. Reduced wholesale electricity costs | 1. Reduced electricity bills | 1. Reduced CO2 and pollutant emissions 2. Local job creation for electricians
A11 |  | Consumer Behavior Studies | Out of scope for this report
A12 | Revenue collection | Enhanced Tamper Detection | 1. Smart meter 2. MDMS 3. AMI Communication system 4. Backhaul system | 1. Install AMI system 2. Configure MDMS 3. Define threshold and policy for tamper investigation 4. Align staff skills to new needs | None | 1. Smart meter automatically collects granular data and communicates it to MDMS. 2. MDMS stores and analyzes this data to identify irregularities in consumption activity. | 1. Monitor MDMS for irregularities that indicate tampers 2. Identify and investigate tampers | None | 1. Reduced non-paying accounts | None | 1. Improved revenue collection | None | 1. Reduced cross-subsidization of non-paying accounts
A13 | Support for Distribution Automation Functions | Confirmation of delivery | Refer to DA analysis area
A14 |  | Power quality measurement | Refer to DA analysis area
A15 |  | CVR/voltage measurement enabled | Refer to DA analysis area
A16 | Support for Distribution Automation Functions | Resilience implications | Refer to DA analysis area
A17 |  | Accurate transformer loading | Refer to DA analysis area
A18 |  | Accurate Load flow | Refer to DA analysis area
A19 |  | Near real-time switching based on loading | Refer to DA analysis area
A21 | Indirect Benefits | Water and gas metering | Out of scope for this report
A22 |  | Smart appliances | Out of scope for this report
A23 |  | Microgrids | Out of scope for this report
Note on D30: Bilhuda: Compare against rows 1-2 in DA

## DA Analysis Area
Note: This document is in progress, and is current as of November 5, 2014
| Analysis Sub-Area | Function Area | Smart Grid Assets |  |  | Smart Grid Functions |  |  | Smart Grid Impacts |  | Smart Grid Benefits
| A | B | C | D | E | F | G | H | I | J | K | L | M
Seq. No. |  |  | Hardware and Software | Utility Implementation Actions | Customer Implementation Actions | Technology Function | Utility Function | Customer Function | Utility Impact | Customer Impact | Benefit to Utility | Benefit to Customer | Benefit to Society
D1 | Reliability/ Outage Management | Remote fault location and diagnostics | 1. Remote fault indicators 2. Smart meters with outage notification feature 3. Communication system 4. Backhaul system 5. SCADA 6. DMS 7. AMI integration (optional) 8. OMS (optional) 9. GIS (optional) | 1. Select feeders for RFI installation 2. Install devices and IT systems 3. Implement system integrations 4. Establish control room procedure 5. Align the skills control room crew to new needs | None | 1. Measurement devices provide power flow telemetry (inc. last gasp signal), automatically or on demand, to AMI/OMS/SCADA/ DMS. | 1. Control room operator identifies network and geographic location of fault based on the telemetry received. 2. Control room operator deduces cause of fault based on the telemetry received. | None | 1. Reduced labor hours related to identifying and locating faults 2. Reduced truck rolls and vehicle miles 3. Reduced loss of kWh sales (as a result of faster locating of fault) 4. Improved reliability indices (as a result of faster locating of fault) | 1.Reduced outage duration 2. More proactive and timely notification of outage events 3. Improved speed and accuracy of ETR (estimated time of restoration). | 1. Reduced operations costs 2. Avoided loss of revenue 3. Avoided regulatory penalties and/or realized regulatory incentives | 1. Reduced economic losses due to outages 2. Improved customer satisfaction | 1. Reduced CO2 and pollutant emissions from vehicle operations.
D2 |  | Outage status monitoring and notification | 1. Smart meter 2. Feeder monitors 3. Communications 4. Backhaul system 5. OMS integration 6. AMI Integration 7. SCADA integration | 1. Install devices and IT systems 2. Implement system integrations 3. Establish control room procedure 4. Align the skills of customer service and control room staff to new needs | None | 1. Measurement devices provide service status and location telemetry to AMI/OMS/SCADA. | 1. Receive service status from measurement devices through automatic periodic updates, and/or ad hoc ping requests. 2. Estimate ETR (estimated time of restoration) based on OMS and WMS inputs. 3. Notify customers, public officials, and/or media of outage status and ETR. | None | 1. Reduced customer service labor hours 2. Increased situational awareness 3. Improved community communications | 1. More proactive and timely notification of outage events 2. Improved speed and accuracy of ETR. | 1. Improved customer satisfaction rating 2. Avoided regulatory penalties 3. Improved public perception of response | 1. Improved customer satisfaction | 1. Improved efficiency and effectiveness of local emergency response
D3 |  | Automated feeder switching for service restoration | 1. Remote fault indicator 2. Automated feeder switch 3. Communication system 4. Backhaul system 5. DMS 6. SCADA integration | 1. Select feeders 2. Install line devices and IT systems 3. Implement system integrations 4. Establish control room procedure 5. Align the skills of field and dispatch crew to new needs | None | 1. Switch received telemetry from RFI, either directly or through DMS. 2. Switch or DMS determines if fault condition exists. 3.If yes, then switches open and/or close to reconfigure power flow to first isolate fault 3. Switches operate then restore service to downstream customers. | 1. If required, control room operator manually overrides switching commands generated by DMS. | None | 1.Reduced labor hours related to restoration efforts 2. Reduced truck rolls and vehicle miles 3. Reduced loss of kWh sales (as a result of faster service restoration) 4. Improved reliability indices | 1.Reduced outage duration (as a result of faster service restoration) 2. Reduced severity of outages experienced (as a result of significant reduction in duration) | 1. Reduced operations costs 2. Avoided loss of revenue 3. Avoided regulatory penalties and/or realized regulatory incentives | 1. Reduced economic losses due to outages 2. Improved customer satisfaction | 1. Reduced CO2 and pollutant emissions from vehicle operations.
D4 |  | Optimized restoration dispatch | 1. WMS integration 2. AMI integration (optional) 3. OMS integration (optional) 4. GIS integration (optional) | 1. Install IT systems 2. Implement system integrations 4. Establish dispatch room procedure 5. Align the skills of field and control room crew to new needs | None | 1. WMS provides work orders to field crew | 1. Dispatch room gathers necessary information, including fault location, fault cause, current field crew status, and field crew capabilities 2. Dispatch room operator optimizes field crew deployment | None | 1. Reduced labor hours related to restoring faults 2. Reduced truck rolls and vehicle miles 3. Reduced loss of kWh sales (as a result of faster service restoration) 4. Improved reliability indices (as a result of faster service restoration) | 1.Reduced outage duration (as a result of faster service restoration) | 1. Reduced operations costs 2. Avoided loss of revenue 3. Avoided regulatory penalties and/or realized regulatory incentives | 1. Reduced economic losses due to outages 2. Improved customer satisfaction | 1. Reduced CO2 and pollutant emissions from vehicle operations.
D5 | Asset Utilization | Integrated volt/VAR control | 1. Feeder monitors 2. Smart meters with PQ measurement feature 3. Automated voltage regulators 4. Automated capacitors 5. Communication system 6. Backhaul system 7. DMS integration 8. SCADA 9. AMI integration (optional) | 1. Determine system operation goals 2. Select feeders 3. Install line devices and IT systems 4. Implement system integrations 5. Determine device control parameters 6. Establish control room procedure 7. Align the skills of field and control room crew to new needs 8. Recalibrate control parameters (ongoing basis) | None | 1. Measurement devices provide voltage and phase telemetry to DMS 2. DMS determines optimal control signals based on operation goals. 3. DMS triggers automated operation of regulators and capacitors | 1. If desired, control room operator manually overrides commands generated by DMS. | None | 1. Reduced line losses (kWh) 2. Reduced demand (kW) 3. Reduced asset operations labor 4. Avoid occasional truck rolls and vehicle miles | 1. Improved power factor 2. Reduced electricity usage | 1. Reduced supply cost and/or generation fuel cost 2. Deferred capacity investment 3. Reduced O&M costs | 1. Avoided cost of damaged equipment 2. Reduced electricity bill | 1. Reduced CO2 and pollutant emissions.
D6 |  | Conservation Voltage Reduction | 1. Feeder monitors 2. Smart meters with voltage measurement feature 3. Automated voltage regulators 4. Communication system 5. Backhaul system 6. DMS 7. SCADA integration | 1. Select feeders 2. Install line devices and IT systems 3. Implement system integrations 4. Determine device control parameters 5. Establish control room procedure 6. Align the skills of field and control room crew to new needs 7. Recalibrate control parameters (ongoing basis) | None | 1. Measurement devices provide voltage telemetry to DMS 2. DMS determines optimal control signals based on operation goals. 3. DMS triggers automated operation of regulators | 1. If desired, control room operator manually overrides commands generated by DMS. | None | 1. Reduced line losses (kWh) 2. Reduced demand (kW) 3. Reduced asset operations labor 4. Avoid occasional truck rolls and vehicle miles | 1. Reduced electricity usage | 1. Reduced supply cost and/or generation fuel cost 2. Deferred capacity investment 3. Reduced O&M costs 4. Avoided regulatory penalties and/or realized regulatory incentives | 1. Reduced electricity bill | 1. Reduced CO2 and pollutant emissions.
D7 |  | Real-time load balancing | 1. Remote fault indicator 2. Feeder Monitors 3. Equipment health sensors 4. Automated feeder switch 5. Communication system 6. Backhaul system 7. DMS 8. SCADA integration | 1. Determine operations goals 2. Select feeders 3. Install devices and IT systems 4. Implement system integrations 5. Establish dispatch and control room procedure 6. Align the skills of field, dispatch, and control room crew to new needs | None | 1. Monitoring devices send power flow telemetry to DMS. 2. DMS determines optimal control signals based on operation goals. 3. DMS triggers automated operation of switches | 1. If desired, control room operator manually overrides commands generated by DMS. | None | 1.Reduced labor hours related to equipment maintenance and/or restoration efforts 2. Reduced truck rolls and vehicle miles 3. Reduced loss of kWh sales (as a result of faster service restoration) 5. Improved reliability indices 4. Reduced instances of equipment failures | 1.Reduced outage duration (as a result of faster service restoration) | 1. Reduced O&M costs 2. Avoided loss of revenue 3. Deferred capital investment 4. Avoided regulatory penalties and/or realized regulatory incentives | 1. Reduced economic losses due to outages 2. Improved customer satisfaction | 1. Reduced CO2 and pollutant emissions from vehicle operations.
D8 | Power Quality | Automated end-of-line voltage regulation | 1. Feeder monitors 2. Smart meters with voltage measurement feature 3. Automated voltage regulators 4. Communication system 5. Backhaul system 6. DMS 7. SCADA 8. AMI integration (optional) | 1. Select feeders 2. Install devices and IT systems 3. Implement system integrations 4. Determine device control parameters 5. Establish control room procedure 6. Align the skills of field and control room crew to new needs | None | 1. Measurement devices provide voltage telemetry to DMS 2. DMS determines optimal control signals. 3. DMS triggers automated operation of regulators | 1. If desired, control room operator manually overrides commands generated by DMS. | None | 1. Reduced variance from service voltage specification 2. Reduced asset operations labor 3. Avoid occasional truck rolls and vehicle miles | 1. Less damage to consumer electronics | 1. Avoided regulatory penalties 2. Reduced O&M costs | 1. Avoided cost of damaged equipment | 1. Reduced CO2 and pollutant emissions.
D9 |  | Automated power factor correction | 1. Feeder monitors 2. smart meters with PQ measurement feature 3. Automated capacitor banks 4. Integrate with AMI if needed 5. Communication system 6. Backhaul system 7. DMS 8. SCADA 9. AMI integration (optional) | 1. Select feeders 2. Install line devices and IT systems 3. Implement system integrations 4. Determine device control parameters 5. Establish control room procedure 6. Align the skills of field and control room crew to new needs | None | 1. Measurement devices provide phase telemetry to DMS 2. DMS determines optimal control signals. 3. DMS triggers automated operation of capacitor banks | 1. If desired, control room operator manually overrides commands generated by DMS. | None | 1. Reduced line losses (kWh) 2. Reduced demand (kW) 3. Reduced asset operations labor 4. Avoid occasional truck rolls and vehicle miles | 1. Improved Power factor | 1. Reduced supply cost and/or generation fuel cost 2. Deferred capacity investment 3. Reduced O&M costs 4. Avoided regulatory penalties and/or realized regulatory incentives | 1. Avoided cost of damaged equipment | 1. Reduced CO2 and pollutant emissions.
D10 | DER Integration | C&I customer-sited energy storage | 1. Distributed Energy Storage 2. Communication system 3. Backhaul system 4. DMS 5. Integrated resource dispatch system (optional) | 1. Identify customer locations 2. Install device 3. Implement system integrations 4. Determine device operations parameters 5. Establish control room procedure 6. Align the skills of field and control room crew to new needs | 1. Agree to installation 2. Integrate device to the building systems | 1. Storage charges during off-peak hours 2. Storage discharges during peak hours 3. Control interface provides utility with telemetry and remote control capability | 1. If desired, control room operator manually overrides predetermined storage operations parameters. | 1. If desired, building operator manually overrides predetermined or utility-directed storage operations parameters. | 1. Reduced peak loads (kW) | 1. Reduced demand (kW) | 1. Deferred distribution capacity investment 2. Reduced supply cost and/or generation fuel cost | 1. Reduced electricity bill (demand charge) | None
D11 |  | Residential customer- and public-sited EV charging stations | 1.EV Charging Station 2. Smart meter 3. Communication system 4. Backhaul system 5. AMI Integration 6. Payment processing system (public-sited only) | 1. Identify customers 2. Establish residential rate or public price 3. Enroll and/or market to customers 4. Install charging stations (if not by customers) 5. Implement system integrations 6. Upgrade distribution system as needed | 1. Purchase electric vehicle (residential only) 2. Install charging station system (if not by utility) 3. Enroll in applicable rate program (residential only) 4. Charge EV | 1. Accept payment (public only) 2. Meter and transmit usage information 3. Calculate and issue bill (residential only) | 1. Accept payment from payment processor 2. Pay service fee to processor 3. Maintain station availability | 1. Charge vehicle | 1. Increased sales (kWh) | 1. Improved access to EV charging stations 2. Reduce barrier to operate EV | 1. Increased revenue 2. Improved customer satisfaction rating | 1. Reduced transportation fuel cost 2. Improved customer satisfaction | 1. Reduced CO2 and pollutant emissions 2. Increased local economic activities (retail)
D12 | DER Integration | Integrated automated resource dispatch | 1. SCADA Integration 2. DMS Integration 3. AMI integration 4. DR dispatch software integration 5. DER Interface 6. Communication system 7. Backhaul system 8. Automated feeder switches 9. Automated regulators 10. Automated capacitors | 1. Establish operational objectives 2. Install devices and IT systems 3. Implement system integrations 4. Establish DSM programs to ensure customers and customer-owned DER are reliable resources 5. Establish control room procedure 6. Align the skills of control room crew to new needs | 1. Enroll in applicable DSM programs. | 1. DMS forecasts distribution load based on weather, and availability of DR resources and DER. 2. Generation dispatch system optimizes the hourly schedule of all resources. 3. DMS determines optimal control signals based on operation goals. 4. DMS triggers automated operation of capacitor banks | 1. If desired, control room operator manually overrides commands generated by DMS. | 1. If desired, opt out of predetermined or utility-directed DR parameters. | 1. Reduced labor hours related to identifying and locating faults 2. Reduced truck rolls and vehicle miles 3. Increased penetration of DER without additional capital investment that might otherwise be required | 1. Reduced demand (kW) 2. Reduced electricity usage (kWh) | 1. Reduced distribution operations costs 2. Reduced supply cost and/or generation fuel cost 3. Deferred distribution capital investment | 1. Reduced electricity bill | 1.Reduced CO2 and pollutant emissions
D13 |  | Net Metering | Refer to AMI analysis area
D14 | Asset Health Condition | Real-time equipment health condition monitoring | 1. Equipment health sensors 2. Feeder monitors 3. Communication system 4. Backhaul system 5. Diagnostics software 6. SCADA integration | 1. Select equipment 2. Install devices and software 3. Establish control room procedure 4. Align the skills of field and dispatch room crew to new needs 5. Establish or redefine maintenance process | None | 1. Sensors provide equipment health status telemetry to diagnostics software 2. Diagnostics software determines if equipment is failing | 1. Dispatch room operator deploys repair crew based on the diagnostics data. 2. Use the diagnostics data to develop and implement preventative maintenance schedule. | None | 1. Reduced labor hours associated with equipment maintenance activities 2. Reduced truck rolls and vehicle miles 3. Reduce the instances of equipment failures | None | 1. Reduced distribution maintenance costs 2. Deferred capital investment | None | 1. Reduced CO2 and pollutant emissions from vehicle operations.