## AMI Build Metrics
Build Metrics - AMI
Data Level
Metric | Metric Qualifier | Unit | Project | System | Definition/Description
End-Points (meters) | End-Points (meters) installed and operational | # |  |  | Total number of smart meters installed and operational
Portion of Customers with AMI: Residential | Portion of Customers with AMI: Residential | # |  |  | Customers with installed and operational AMI meters by customer class
Portion of Customers with AMI: Commercial | Portion of Customers with AMI: Commercial | #
Portion of Customers with AMI: Industrial | Portion of Customers with AMI: Industrial | #
Metering Features: Interval reads of 1 hour or less | Metering Features: Interval reads of 1 hour or less | Minutes |  |  | Interval of time that meters are read; hourly interval equals 60 minutes
Metering Features: Remote Connection/Disconnection | Metering Features: Remote Connection/Disconnection, Is feature enabled | Yes/No |  |  | Indicate if the meters are being used for remote connection/disconnection during this reporting period
Metering Features: Remote Connection/Disconnection | Metering Features: Remote Connection/Disconnection, Number of meters with feature enabled | # |  |  | Number of meters being used for remote connection/disconnection
Metering Features: Outage Detection/Reporting | Metering Features: Outage Detection/Reporting, Is feature enabled | Yes/No |  |  | Indicate if meters are being used for outage detection/reporting during this reporting period
Metering Features: Outage Detection/Reporting | Metering Features: Outage Detection/Reporting, Number of meters with feature enabled | # |  |  | Number of meters being used for outage detection/reporting
Metering Features: Power quality monitoring | Metering Features: Power quality monitoring, Is feature enabled | Yes/No |  |  | Indicate if meters are being used for power quality monitoring during this reporting period
Metering Features: Power quality monitoring | Metering Features: Power quality monitoring, Number of meters with feature enabled | # |  |  | Number of meters being used for power quality monitoring
Metering Features: Tamper detection | Metering Features: Tamper detection, Is feature enabled | Yes/No |  |  | Indicate if meters are being used for tamper detection during this reporting period
Metering Features: Tamper detection | Metering Features: Tamper detection, Number of meters with feature enabled | # |  |  | Number of meters being used for tamper detection
Meter Features | Other Metering Features, Description | Text |  |  | Text box for projects to provide additional information about other meter features
Backhaul Communications Network | Backhaul Communications Network | Text |  |  | Network characteristics from meters, collectors, access points, relays, to Head End System
Meter Communications Network | Meter Communications Network | Text |  |  | Network characteristics from meters, collectors, access points, to Headend System
Headend system | Headend system | Text |  |  | Characteristics of Headend System
Meter Data Management System | Meter Data Management System | Text |  |  | A description of the meter data management system (MDMS). The MDMS serves as the data warehouse for all the AMI meter data. The description could include vendor information, hardware information, and system capabilities (for example, validating, estimating, and editing of meter data for billing customers)
Meter data analysis systems | Meter data analysis systems | Text |  |  | The meter data analysis system describes the suite of software applications that utilize and analyze meter data
Enterprise systems integration: Billing | Enterprise systems integration: Billing, Description | Text |  |  | Indicate if AMI will be integrated with enterprise systems and describe the system characteristics
Enterprise systems integration: Billing | Enterprise systems integration: Billing, Is integration complete | Yes/No
Enterprise systems integration: Customer information system | Enterprise systems integration: Customer information system, Description | Text
Enterprise systems integration: Customer information system | Enterprise systems integration: Customer information system, Is integration complete | Yes/No
Enterprise systems integration: Outage management system | Enterprise systems integration: Outage management system, Description | Text
Enterprise systems integration: Outage Management System | Enterprise systems integration: Outage management system, Is integration complete | Yes/No
Enterprise systems integration: Distribution management system | Enterprise systems integration: Distribution management system, Description | Text
Enterprise systems integration: Distribution Management System | Enterprise systems integration: Distribution management system, Is integration complete | Yes/No
Enterprise systems integration: Others | Enterprise systems integration: Others, Description | Text
Enterprise systems integration: Others | Enterprise systems integration: Others, Is integration complete | Yes/No
AMI Assets | AMI Assets, General description box | Text |  |  | Description box to provide any additional comments related to AMI assets

## Customer Systems Build Metrics
Build Metrics - Customer Systems
Data Level
Metric | Metric Qualifier | Unit | Project | System | Definition/Description
Home Area Network | Home Area Network | Text |  |  | Characteristics of Home Area Network within customer premise
In-home displays | In-home displays, Description | Text |  |  | Description of in-home displays including information displayed, notifications, indicators, and other characteristics
In-home displays | In-home displays, Number of devices installed | # |  |  | Number of customers with an installed dedicated energy display
Web portal | Web portal, Description | Text |  |  | Description of web portal
Web portal | Web portal, Number of customers with access | # |  |  | Number of customers with access to web portal
Web portal | Web portal, Number of customers with active account | # |  |  | Number of customers with active web portal account
Energy management devices/systems | Energy management devices/systems, Description | Text |  |  | Type of energy management device or system and description of equipment and loads monitored and/or controlled
Energy management devices/systems | Energy management devices/systems, Number of devices installed | # |  |  | Number of customers with an installed energy management device. Device or system that monitors and controls
Direct Load Control devices | Direct Load Control devices, Description | Text |  |  | Description of direct load control devices (type and appliances controlled and/or monitored) and communications network utilized
Direct Load Control devices | Direct Load Control devices, Number of devices installed | # |  |  | Number of installed devices that can be cycled or controlled by a utility or third party
Programmable controllable thermostat | Programmable controllable thermostat, Number of devices Installed | # |  |  | Number of customers with an installed programmable controllable thermostat (PCT)
Smart appliances | Smart Appliances, Description | Text |  |  | Description of smart appliances
Smart appliances | Smart appliances, Number of devices Installed | # |  |  | Number of installed appliances that can be programmed or can respond to pricing signals or schedules
Other customer devices | Other customer devices, Description | Text |  |  | Description of other customer devices
Other customer devices | Other customer devices, Number of devices installed | # |  |  | Numbers of installed other customer devices or systems
Customer Systems assets | Customer Systems assets, General description box | Text |  |  | Description box to provide any additional comments related to customer systems

## Distribution Build Metrics
Build Metrics - Distribution Systems
Data Level
Metric | Metric Qualifier | Unit | Project | System | Definition/Description
Portion of system with SCADA | Portion of distribution system with SCADA, Description | Text | N/A |  | Number of circuits or feeders with SCADA / Distribution Automation divided by the total number of circuits or feeders within the recipient's service territory; Note: SCADA includes monitoring, even if no control functionality is implemented
Portion of system with SCADA | Portion of distribution system with SCADA, Percent of System | % | N/A
Portion of system with Distribution Automation (DA) | Portion of distribution system with Distribution Automation (DA), Percent of Project | %
DA devices | DA devices, Description | Text |  |  | Special notes on the variations of the DA devices being installed including equipment features and functionality
Automated Feeder Switches | Automated Feeder Switches, Number of devices installed | # |  |  | Locally or centrally coordinated/operated
Automated Capacitors | Automated Capacitors, Number of devices installed | # |  |  | Locally or centrally coordinated/operated
Automated Regulators | Automated Regulators, Number of devices installed | # |  |  | Locally or centrally coordinated/operated
Feeder monitors | Feeder monitors, Number of devices installed | # |  |  | Including voltage and current sensors
Remote Fault Indicators | Remote Fault Indicators, Number of devices installed | # |  |  | Detection and reporting of fault location
Transformer monitors (line) | Transformer monitors (line), Number of devices installed | # |  |  | Loading and/or equipment health
Smart relays | Smart relays, Number of devices installed | # |  |  | Settings can be coordinated with other devices
DA communications network | DA communications network, Description | Text |  |  | Characteristics of system, including integration or dependencies with other networks (e.g., AMI)
Other DA devices | Other DA devices, Description | Text |  |  | Characteristics of DA devices
Other DA devices | Other DA devices, Number of devices installed | #
DA System Features/Applications: Fault Location, Isolation and Service Restoration (FLISR) | DA System Features/Applications: Fault Location, Isolation and Service Restoration (FLISR), Is this application in operation | Yes/No |  |  | Indicate if DA will be used for these purposes
DA System Features/Applications: Fault Location, Isolation and Service Restoration (FLISR) | DA System Features/Applications: Fault Location, Isolation and Service Restoration (FLISR), Description | Text
DA System Features/Applications: Voltage Optimization | DA System Features/Applications: Voltage Optimization, Is this application in operation | Yes/No
DA System Features/Applications: Voltage Optimization | DA System Features/Applications: Voltage Optimization, Description | Text
DA System Features/Applications: Feeder Peak Load Management | DA System Features/Applications: Feeder Peak Load Management, Is this application in operation | Yes/No
DA System Features/Applications: Feeder Peak Load Management | DA System Features/Applications: Feeder Peak Load Management, Description | Text
DA System Features/Applications: Microgrids | DA System Features/Applications: Microgrids, Is this application in operation | Yes/No
DA System Features/Applications: Microgrids | DA System Features/Applications: Microgrids, Description | Text
DA System Features/Applications: Other Applications | DA System Features/Applications: Other Applications, Is this application in operation | Yes/No
DA System Features/Applications: Other Applications | DA System Features/Applications: Other Applications, Description | Text
Distribution Management System | Distribution Management System, Description | Text |  |  | Description box to provide any comments related to the DMS
Distribution Management System: Integration with AMI | Distribution Management System: Integration with AMI, Is Integration Complete | Yes/No |  |  | Including loading, voltage and power quality sensing and reporting from meters
Distribution Management System: Integration with AMI | Distribution Management System: Integration with AMI, Description | Text
Distribution Management System: Integration with Outage Management System | Distribution Management System: Integration with Outage Management System, Is Integration Complete | Yes/No |  |  | Includes outage detection and restoration and reporting from OMS
Distribution Management System: Integration with Outage Management System | Distribution Management System: Integration with Outage Management System, Description | Text
Distribution Management System: Integration with Transmission Management System | Distribution Management System: Integration with Transmission Management System, Is Integration Complete | Yes/No |  |  | Interface with high voltage energy management system
Distribution Management System: Integration with Transmission Management System | Distribution Management System: Integration with Transmission Management System, Description | Text
Distribution Management System: Integration with Distributed Energy Resources | Distribution Management System: Integration with Distributed Energy Resources, Is Integration Complete | Yes/No |  |  | Interface with customer energy management systems and DERs
Distribution Management System: Integration with Distributed Energy Resources | Distribution Management System: Integration with Distributed Energy Resources, Description | Text
Distribution Management System: Integration with other system | Distribution Management System: Integration with other system, Is Integration Complete | Yes/No |  |  | Interface with other system
Distribution Management System: Integration with other system | Distribution Management System: Integration with other system, Description | Text
Fault Current Limiter | Fault Current Limiter, Number of devices installed | #
Other Distribution devices | Other Distribution devices, Description | Text |  |  | Characteristics of Distribution devices
Other Distribution devices | Other Distribution devices, Number of devices installed | #
Distribution Assets | Distribution Assets, General description box | Text |  |  | Description box to provide any additional comments related to distribution assets

## Transmission Build Metrics
Build Metrics - Transmission Systems
Data Level
Metric | Metric Qualifier | Unit | Project | System | Definition/Description
Portion of transmission system covered by Phasor Measurement systems | Portion of transmission system covered by Phasor Measurement systems | % |  |  | Including lines, transmission substations, and key equipment
Portion of transmission system covered by Phasor Measurement systems | Portion of transmission system intended to be covered by Phasor Measurement systems (END STATE) when the project is complete | % | Not Applicable
PMUs | PMUs, Number installed and operational | # |  |  | Total number of PMUs installed and operational
PMUs | PMUs, Description | Text |  |  | Make and model, security measures, consistency with NASPI and synchrophasor standards, substation name, location, nominal voltage level, settings, CEII designation, PT/VT and CT transducer make and model
Phasor Data Concentrators | Phasor Data Concentrators, Number installed and operational | # |  |  | Total number of PDCs installed and operational
Phasor Data Concentrators | Phasor Data Concentrators, Description | Text |  |  | Make and model, security measures, consistency NASPI and synchrophasor standards, number of PMUs networked
Communications Network | Communications Network | Text
Angle/Frequency Monitoring | Angle/Frequency Monitoring, Is this application in operation | Yes/No |  |  | Indicate if Phasor Measurement Systems will be used for these purposes and only indicate at the time when it is enabled
Post-mortem Analysis (including compliance monitoring) | Post-mortem Analysis (including compliance monitoring), Is this application in operation | Yes/No
Voltage Stability Monitoring | Voltage Stability Monitoring, Is this application in operation | Yes/No
Thermal Overload Monitoring | Thermal Overload Monitoring, Is this application in operation | Yes/No
Improved State Estimation | Improved State Estimation, Is this application in operation | Yes/No
Steady-State Model Benchmarking | Steady-State Model Benchmarking, Is this application in operation | Yes/No
DG/IPP Applications | DG/IPP Applications, Is this application in operation | Yes/No
Power System Restoration | Power System Restoration, Is this application in operation | Yes/No
Advanced Transmission Applications | Advanced Transmission Applications, Description | Text |  |  | Description box to provide any comments related to the advanced transmission applications
Dynamic Capability Rating Systems: Transmission lines | Dynamic Capability Rating Systems: Transmission lines | # |  |  | Systems designed to determine real-time ratings; Based on line loading, temperature, sag or other operating parameters
Dynamic Capability Rating Systems: Station Transformers | Dynamic Capability Rating Systems: Station Transformers | #
Dynamic Capability Rating Systems: Other Transmission equipment | Dynamic Capability Rating Systems: Other Transmission equipment, Description | Text
Dynamic Capability Rating Systems: Other Transmission equipment | Dynamic Capability Rating Systems: Other Transmission equipment, Number of devices installed | #
Other Transmission devices | Other Transmission devices, Description | Text |  |  | Characteristics of transmission devices
Other Transmission devices | Other Transmission devices, Number of devices installed | # |  |  | Number of devices installed
Transmission Assets | Transmission Assets, General description box | Text |  |  | Description box to provide any additional comments related to transmission assets

## Pricing Programs Build Metrics
Build Metrics - Pricing Programs
Data Level
Metric | Metric Qualifier | Unit | Project | System | Definition/Description
Flat | Flat - Is the pricing program available | Yes/No
Flat | Flat - Number of customers with access | #
Flat | Flat - Number of customers enrolled | #
Flat | Flat - Program description | Text
Flat with Critical Peak Pricing | Flat with Critical Peak Pricing - Is the pricing program available | Yes/No
Flat with Critical Peak Pricing | Flat with Critical Peak Pricing - Number of customers with access | #
Flat with Critical Peak Pricing | Flat with Critical Peak Pricing - Number of customers enrolled | #
Flat with Critical Peak Pricing | Flat with Critical Peak Pricing - Program description | Text
Flat with Peak-Time Pricing | Flat with Peak-Time Pricing - Is the pricing program available | Yes/No
Flat with Peak-Time Pricing | Flat with Peak-Time Pricing - Number of customers with access | #
Flat with Peak-Time Pricing | Flat with Peak-Time Pricing - Number of customers enrolled | #
Flat with Peak-Time Pricing | Flat with Peak-Time Pricing - Program description | Text
Tier | Tier - Is the pricing program available | Yes/No
Tier | Tier - Number of customers with access | #
Tier | Tier - Number of customers enrolled | #
Tier | Tier - Program description | Text
Tier with Critical Peak Pricing | Tier with Critical Peak Pricing - Is the pricing program available | Yes/No
Tier with Critical Peak Pricing | Tier with Critical Peak Pricing - Number of customers with access | #
Tier with Critical Peak Pricing | Tier with Critical Peak Pricing - Number of customers enrolled | #
Tier with Critical Peak Pricing | Tier with Critical Peak Pricing - Program description | Text
Tier with Peak-Time Pricing | Tier with Peak-Time Pricing - Is the pricing program available | Yes/No
Tier with Peak-Time Pricing | Tier with Peak-Time Pricing - Number of customers with access | #
Tier with Peak-Time Pricing | Tier with Peak-Time Pricing - Number of customers enrolled | #
Tier with Peak-Time Pricing | Tier with Peak-Time Pricing - Program description | Text
Time-of-use | Time-of-use - Is the pricing program available | Yes/No
Time-of-use | Time-of-use - Number of customers with access | #
Time-of-use | Time-of-use - Number of customers enrolled | #
Time-of-use | Time-of-use - Program description | Text
Variable Peak Pricing | Variable Peak Pricing - Is the pricing program available | Yes/No
Variable Peak Pricing | Variable Peak Pricing - Number of customers with access | #
Variable Peak Pricing | Variable Peak Pricing - Number of customers enrolled | #
Variable Peak Pricing | Variable Peak Pricing - Program description | Text
Time-of-use with Critical Peak Pricing | Time-of-use with Critical Peak Pricing - Is the pricing program available | Yes/No
Time-of-use with Critical Peak Pricing | Time-of-use with Critical Peak Pricing - Number of customers with access | #
Time-of-use with Critical Peak Pricing | Time-of-use with Critical Peak Pricing - Number of customers enrolled | #
Time-of-use with Critical Peak Pricing | Time-of-use with Critical Peak Pricing - Program description | Text
Time-of-use with Peak-Time Rebate | Time-of-use with Peak-Time Rebate - Is the pricing program available | Yes/No
Time-of-use with Peak-Time Rebate | Time-of-use with Peak-Time Rebate - Number of customers with access | #
Time-of-use with Peak-Time Rebate | Time-of-use with Peak-Time Rebate - Number of customers enrolled | #
Time-of-use with Peak-Time Rebate | Time-of-use with Peak-Time Rebate - Program description | Text
Real-time Pricing | Real-time Pricing - Is the pricing program available | Yes/No
Real-time Pricing | Real-time Pricing - Number of customers with access | #
Real-time Pricing | Real-time Pricing - Number of customers enrolled | #
Real-time Pricing | Real-time Pricing - Program description | Text
Real-time Pricing with Critical Peak Pricing | Real-time Pricing with Critical Peak Pricing - Is the pricing program available | Yes/No
Real-time Pricing with Critical Peak Pricing | Real-time Pricing with Critical Peak Pricing - Number of customers with access | #
Real-time Pricing with Critical Peak Pricing | Real-time Pricing with Critical Peak Pricing - Number of customers enrolled | #
Real-time Pricing with Critical Peak Pricing | Real-time Pricing with Critical Peak Pricing - Program description | Text
Real-time Pricing with Peak Time Rebate | Real-time Pricing with Peak Time Rebate - Is the pricing program available | Yes/No
Real-time Pricing with Peak Time Rebate | Real-time Pricing with Peak Time Rebate - Number of customers with access | #
Real-time Pricing with Peak Time Rebate | Real-time Pricing with Peak Time Rebate - Number of customers enrolled | #
Real-time Pricing with Peak Time Rebate | Real-time Pricing with Peak Time Rebate - Program description | Text
Pre-pay Pricing | Pre-pay Pricing - Is the pricing program available | Yes/No
Pre-pay Pricing | Pre-pay Pricing - Number of customers with access | #
Pre-pay Pricing | Pre-pay Pricing - Number of customers enrolled | #
Pre-pay Pricing | Pre-pay Pricing - Program description | Text
Net Metering | Net Metering - Is the pricing program available | Yes/No
Net Metering | Net Metering - Number of customers with access | #
Net Metering | Net Metering - Number of customers enrolled | #
Net Metering | Net Metering - Program description | Text
Rate Decoupling | Rate Decoupling - Is the pricing program available | Yes/No
Rate Decoupling | Rate Decoupling - Number of customers with access | #
Rate Decoupling | Rate Decoupling - Number of customers enrolled | #
Rate Decoupling | Rate Decoupling - Program description | Text
Other programs | Other programs - Is the pricing program available | Yes/No
Other programs | Other programs - Number of customers with access | #
Other programs | Other programs - Number of customers enrolled | #
Other programs | Other programs - Program description | Text
Pricing Programs | Pricing Programs, General description box | Text |  |  | Description box to provide any additional comments related to pricing programs

## DER Build Metrics
Build Metrics - Distributed Energy Resources
Data Level
Metric | Metric Qualifier | Unit | Project | System | Definition/Description
Distributed Generation | Distributed Generation, Number of units | # |  |  | Number of units of distributed generation
Distributed Generation | Distributed Generation, Installed capacity | kW |  |  | Total installed capacity of all distributed generation
Distributed Generation | Distributed Generation, Total energy delivered | kWh |  |  | Total energy delivered from all distributed generation
Energy Storage | Energy Storage, Number of units | # |  |  | Number of energy storage units
Energy Storage | Energy Storage, Installed capacity | kW |  |  | Total installed capacity of all energy storage
Energy Storage | Energy Storage, Total energy delivered | kWh |  |  | Total energy delivered from all energy storage
DG Interface | DG Interface | Text |  |  | Characteristics of DG interface or interconnection, including information and control capability for utility
Plug-in Electric Vehicle Charging Points | Plug-in Electric Vehicle Charging Points, Number of units | # |  |  | Number of charging points
Plug-in Electric Vehicle Charging Points | Plug-in Electric Vehicle Charging Points, Installed capacity | kW |  |  | Capacity of all charging points
Plug-in Electric Vehicle Charging Points | Plug-in Electric Vehicle Charging Points, Total energy delivered | kWh |  |  | Total energy transacted from all charging points
Distributed Energy Resources | Distributed Energy Resources, General description box | Text |  |  | Description box to provide any comments related to Distributed Energy Resources

## Monetary Investments
Build Metrics - Monetary Investments
Funding Type
Category | Metric | Metric Qualifier | Unit | ARRA | Cost Share
AMI | AMI Back Office Systems | AMI Back Office Systems | $
AMI | Communication Equipment | Communication Equipment | $
AMI | AMI Smart Meters | AMI Smart Meters | $
Customer Systems | Customer Back Office Systems | Customer Back Office Systems, | $
Customer Systems | Customer Web Portals | Customer Web Portals | $
Customer Systems | In Home Display | In Home Display | $
Customer Systems | Smart Appliances | Smart Appliances | $
Customer Systems | Programmable Controllable Thermostats | Programmable Controllable Thermostats | $
Customer Systems | Participating Load Control Device | Participating Load Control Device | $
Electric Distribution | Back Office Systems | Back Office Systems | $
Electric Distribution | Distribution Management System | Distribution Management System | $
Electric Distribution | Communications/Equipment SCADA | Communications/Equipment SCADA | $
Electric Distribution | Feeder Monitor/Indicator | Feeder Monitor/Indicator | $
Electric Distribution | Substation Monitor | Substation Monitor | $
Electric Distribution | Automated Feeder Switches | Automated Feeder Switches | $
Electric Distribution | Capacitor Automation Equipment | Capacitor Automation Equipment | $
Electric Distribution | Regulator Automation Equipment | Regulator Automation Equipment | $
Electric Distribution | Fault Current Limiter | Fault Current Limiter | $
Electric Distribution | DER Interface / Control Systems | DER Interface / Control Systems | $
Electric Distribution | Communication Equipment | Communication Equipment, | $
Electric Distribution - Distributed Energy Resources | DER / DG Interconnection Equipment | DER / DG Interconnection Equipment | $
Electric Distribution - Distributed Energy Resources | Distributed Generation (DG) | Distributed Generation (DG) monitoring, interconnection, dispatch equipment | $
Electric Distribution - Distributed Energy Resources | Renewable DER | Renewable DER | $
Electric Distribution - Distributed Energy Resources | Stationary Electricity Storage | Stationary Electricity Storage | $
Electric Distribution - Distributed Energy Resources | Plug-in-Electric Vehicles | Plug-in-Electric Vehicles / Charging Stations | $
Electric Transmission | Back Office Systems | Back Office Systems | $
Electric Transmission | Advanced Applications | Advanced Applications | $
Electric Transmission | Dynamic Rating Systems | Dynamic Rating Systems | $
Electric Transmission | Communication Equipment | Communication Equipment | $
Electric Transmission | PDC | PDC | $
Electric Transmission | PMU | PMU | $
Electric Transmission | Line Monitoring Equipment | Line Monitoring Equipment | $
General | Monetary Investments | Monetary Investments, General Description Box | Text